## AED Monthly Log
FORBES SAFETY SOLUTIONS
AED Inspection Monthly Log
Ref: AHA Guidelines / AED Manufacturer Recommendations
Company: |  |  |  | AED Location:
AED Model/Serial: |  |  |  | Year:
Battery Expiration Date: |  |  |  | Pad Expiration Date:
# | Inspection Item | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | Status indicator light GREEN?
2 | Battery charge OK?
3 | Pads within expiration date?
4 | Pads sealed and undamaged?
5 | Cabinet/case clean and accessible?
6 | AED signage visible?
7 | Rescue kit present — gloves?
8 | Rescue kit present — razor?
9 | Rescue kit present — scissors?
10 | Rescue kit present — towel?
Inspector Initials
Notes / Corrective Actions
Legend: | Pass = Item OK
Fail = Needs Attention / Corrective Action