## Daily Inspection
DAILY CONSTRUCTION SITE SAFETY INSPECTION
Forbes Safety Solutions
Project Name:
Date: |  | Weather:
Inspector: |  | Site Address:
# | Inspection Item | Status | Comments
HOUSEKEEPING
1 | Walkways and access routes clear of obstructions
2 | Materials stored properly and securely
3 | Waste disposal containers available and not overflowing
4 | Trip hazards identified and addressed
5 | Adequate lighting in all work areas
PPE COMPLIANCE
6 | Hard hats worn in all required areas
7 | Safety glasses/goggles in use where required
8 | High-visibility vests worn as required
9 | Safety boots/steel-toed footwear worn
10 | Gloves appropriate for task being worn
FALL PROTECTION
11 | Guardrails intact and properly installed
12 | Floor openings covered and secured
13 | Harnesses inspected and properly worn
14 | Anchorage points adequate and accessible
15 | Ladders secured and in good condition
ELECTRICAL SAFETY
16 | GFCIs in use on all temporary circuits
17 | Extension cords undamaged and rated properly
18 | Temporary power panels secured
19 | Panel access clear of obstructions (36" min.)
EXCAVATION
20 | Shoring/sloping/shielding in place per plan
21 | Access ladders within 25 ft. of workers
22 | Spoil pile set back minimum 2 ft. from edge
23 | Utility markings visible and intact
FIRE PREVENTION
24 | Fire extinguishers accessible and charged
25 | Hot work permits posted and current
26 | Flammable materials stored properly
EQUIPMENT
27 | Daily equipment inspections completed
28 | Operators have valid certifications
29 | Seatbelts in use on all applicable equipment
30 | Backup alarms functional on all equipment
INSPECTION SUMMARY
Total Items Inspected |  | 0
Items Compliant (Yes) |  | 0
Items Needing Correction (No) |  | 0
Not Applicable (N/A) |  | 0
Compliance Rate |  | 0%
Overall Site Rating
CORRECTIVE ACTIONS REQUIRED
# | Description | Priority | Assigned To | Status
1
2
3
4
5
6
7
8
SIGNATURES
Inspector Signature: |  |  | Date:
Site Superintendent: |  |  | Date:

## Instructions
INSTRUCTIONS — Daily Construction Site Safety Inspection
Forbes Safety Solutions
PURPOSE
This form provides a standardized daily inspection checklist for construction sites.
It helps ensure compliance with OSHA regulations and company safety policies.
Complete this form at the start of each work day before work begins.
HOW TO USE
1. Fill in all header information (Project Name, Date, Inspector, Weather, Site Address).
2. Walk the entire site and inspect each item in every category.
3. Select 'Yes' if the item is compliant, 'No' if it is not, or 'N/A' if not applicable.
4. Add comments for any item marked 'No' — describe the specific issue observed.
5. The Summary section will automatically calculate compliance metrics.
6. Document all corrective actions needed in the Corrective Actions section.
7. Both the Inspector and Site Superintendent must sign and date the form.
RATING CRITERIA
Satisfactory — 90%+ compliance rate with no high-priority corrective actions needed.
Needs Improvement — 75-89% compliance rate or minor corrective actions identified.
Unsatisfactory — Below 75% compliance rate or significant safety hazards found.
Stop Work — Imminent danger identified; all work must cease until hazard is corrected.
CORRECTIVE ACTION PRIORITIES
High — Imminent danger or serious OSHA violation. Must be corrected immediately.
Medium — Potential hazard that should be corrected within 24 hours.
Low — Minor issue or best-practice improvement. Correct within one week.
RECORD KEEPING
Completed forms must be retained for the duration of the project plus 3 years.
Store copies in the project safety file and provide copies to the site superintendent.
Forms with 'Unsatisfactory' or 'Stop Work' ratings must be escalated to the Safety Director.