## Slide 1
FORBES SAFETY SOLUTIONS
EMERGENCY ACTION PLAN REVIEW
Evacuation, Alarms, Assembly Points & Emergency Contacts
Ref: 29 CFR 1910.38 | 29 CFR 1926.35
TOOLBOX TALK

## Slide 2
KEY STATISTICS
Only 40% of Businesses
Have an emergency preparedness plan — leaving the majority unprepared
Minutes Matter
Effective evacuation depends on knowing routes and assembly points before an emergency
Every Worker's Responsibility
Every person on site must know the EAP — emergencies don't wait for management
Source: FEMA | OSHA Emergency Preparedness Guidance

## Slide 3
PURPOSE & KEY EAP ELEMENTS
The Emergency Action Plan (EAP) establishes procedures for responding to workplace emergencies
OSHA requires a written EAP that is communicated to all employees (29 CFR 1910.38 / 29 CFR 1926.35)
Know your PRIMARY evacuation route and at least one ALTERNATE route from every work area
Identify your designated assembly point — go there immediately after evacuating
Headcount procedures: supervisors must account for every person at the assembly point
Never re-enter the building or work area until the all-clear is given by an authorized person
Review the EAP at every new site, whenever the plan changes, and at least annually
Source: 29 CFR 1910.38 | 29 CFR 1926.35

## Slide 4
ALARMS, EQUIPMENT & KEY LOCATIONS
Know what the alarm signals sound like and what each one means (fire, evacuation, shelter-in-place, all-clear)
Fire extinguisher locations: know the nearest extinguisher to your work area and how to use PASS (Pull-Aim-Squeeze-Sweep)
First aid kits: know the location of the nearest kit and who the designated first aid responders are
AED locations: know where Automated External Defibrillators are positioned on site
Severe weather shelter areas: identify interior rooms or reinforced areas for tornado/storm shelter
Emergency contact numbers: post emergency numbers for 911, site safety officer, and project manager visibly
Know the location of utility shut-offs (gas, electric, water) in case of emergency
Source: OSHA Emergency Preparedness Guidance

## Slide 5
EVACUATE VS. SHELTER IN PLACE
EVACUATE for: fire, explosion, gas leak, bomb threat, structural collapse, or any order to evacuate
SHELTER IN PLACE for: severe weather (tornado, lightning), external chemical release, active threat
When evacuating: walk — do not run; use designated routes; assist anyone needing help; do NOT use elevators
When sheltering: move to interior rooms away from windows; close doors; wait for further instructions
Reporting emergencies: call 911, then notify your supervisor and site safety officer immediately
If you discover a fire: activate the nearest alarm, evacuate, call 911 — only fight a small fire if trained and safe
Practice makes prepared: participate in every drill and ask questions if anything is unclear
Source: 29 CFR 1910.38 | FEMA Emergency Preparedness

## Slide 6
QUIZ — TEST YOUR KNOWLEDGE
Q1: What are the two main response options in an emergency, and when is each used?
A: Evacuate (fire, gas leak, explosion) or Shelter in Place (severe weather, external chemical release).
Q2: What does the acronym PASS mean for fire extinguisher use?
A: Pull the pin, Aim at the base of the fire, Squeeze the handle, Sweep side to side.
Q3: After evacuating, what must you do at the assembly point?
A: Report to your supervisor for headcount — never re-enter until the all-clear is given.

## Slide 7
SIGN-OFF SHEET
Emergency Action Plan Review
# | Print Name | Signature | Company | Date
1 |  |  |  | 
2 |  |  |  | 
3 |  |  |  | 
4 |  |  |  | 
5 |  |  |  | 
6 |  |  |  | 
7 |  |  |  | 
8 |  |  |  | 
9 |  |  |  | 
10 |  |  |  | 
Forbes Safety Solutions